proposalitems – Not a Bid Form

| ITEM |  | DESCRIPTION |  | QTY |  | UNIT |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Mobilization / Demobilization |  | 1 |  | LS |  |
| 2 |  | Furnish and install complete, 8-inch C900 Waterline |  | 1,900 |  | LF |  |
| 3 |  | Furnish and install complete, 8-inch C900 Waterline (RJ) with 16-inch Steel Casing |  | 80 |  | LF |  |
| 4 |  | Furnish and install complete, 8-inch Gate Valves |  | 2 |  | EA |  |
| 5 |  | Furnish and install complete, 6-inch Gate Valves |  | 6 |  | EA |  |
| 6 |  | Furnish and install complete, 6-inch Hydrant |  | 1 |  | EA |  |
| 7 |  | Furnish and install complete, Tracer Wire |  | 1,980 |  | LF |  |
| 8 |  | Connection to existing waterline, complete, as per plan |  | 2 |  | LS |  |
| 9 |  | Type F Pavement Replacement w/ Compacted Granular Backfill |  | 133 |  | SY |  |
| 10 |  | Type C Pavement Replacement w/ Low Strength Mortar Backfill |  | 15 |  | SY |  |
| 11 |  | Type C Pavement Replacement w/ Compacted Granular Backfill |  | 200 |  | SY |  |
| 12 |  | Seeding and Mulching |  | 1 |  | LS |  |