## Proposal Items Spreadsheet
1 | 103s00011 | PRECONSTRUCTION VIDEO DOCUMENTATION | 1 | LS
2 | 103s05001 | BONDS AND INSURANCES, AS PER PLAN | 1 | LS
3 | 201E11001 | CLEARING AND GRUBBING, AS PER PLAN | 1 | LS
4 | 203E13301 | EXCAVATION INCLUDING EMBANKMENT CONSTRUCTION, AS PER PLAN | 1 | LS
5 | 253s03300 | TYPE "C" PAVEMENT REPLACEMENT (ASPHALT), ROADWAY, AS PER PLAN | 30 | SY
6 | 451e10100 | 6 INCH REINFORCED CONCRETE DRIVES AND APRONS, AS PER PLAN | 410 | SY
7 | 501s00001 | GENERAL CONSTRUCTION, AS PER PLAN | 1 | LS
8 | 601E32205 | ROCK CHANNEL PROTECTION, TYPE C WITH FABRIC FILTER, AS PER PLAN | 5 | CY
9 | 606e98115 | BOLLARD, AS PER PLAN | 4 | EACH
10 | 607e62323 | DOUBLE GATE, AS PER PLAN | 1 | EACH
11 | 611E04201 | 12" CONDUIT, TYPE A, AS PER PLAN | 34 | FT
12 | 624E10000 | MOBILIZATION | 1 | LS
13 | 638e00016 | CONNECT NEW WATER MAIN TO EXISTING WATER MAIN, AS PER PLAN | 1 | EACH
14 | 638e10205 | 6 INCH FIRE HYDRANT ASSEMBLY, INCLUDING 6 INCH VALVE AND VALVE BOX, AS PER PLAN | 1 | EACH
15 | 638E40400 | 12 INCH WATER MAIN DUCTILE IRON PIPE ANSI CLASS 52, PUSH-ON JOINTS AND CAST IRON MECHANICAL JOINT FITTINGS, AS PER PLAN | 240 | FT
16 | 659s10051 | LAWN RESTORATION, AS PER PLAN | 1 | LS
17 | 680s49504 | INSTRUMENTATION AND CONTROL (SCADA) SYSTEM INTEGRATION ALLOWANCE | 1 | LS
18 | 832s30025 | TEMPORARY SEDIMENT AND EROSION CONTROL, AS PER PLAN | 1 | LS
19 | 999s99992 | ELECTRIC COMPANY CHARGES ALLOWANCE | 1 | LS