REQUEST FOR QUOTE TO THE CITY OF WILLOWICK
FOR FIRE STATION ADA BATHROOM / LOCKER ROOM IMPROVEMENTS
PROJECT NO. 241771
	REF NO.
	DESCRIPTION – BASE BID
	QTY
	MEASURE

UNIT

	A
	Demolition of interior partitions, ceilings, and floor slab in work area. Installation of new partitions, doors, floor slab, and ceilings. Finishing of new spaces with paint, tile, wall coverings and fixtures.
	460
	SF

	M
	Demolition of existing supply and returns to affected rooms. Installation of new supply and return ducting to support new layout. Installation of new ventilation and associated ducting.
	500
	SF

	E
	Removal / relocation of existing fixtures. Re-routing and new wiring of circuits. New fixtures and switches.
	430
	SF

	P
	Removal of existing fixtures. Demolition of existing plumbing. Installation of new piping and fixtures.
	200
	SF


